	[bookmark: _GoBack]1910.269 Information Sharing Checklist:
	
	
	

	NOTE: 1-5 MUST BE PROVIDED; 6-8 must be provided if info is available in existing records.
	 
	 
	 

	The Host must ensure that the contractor(s), subcontractors and all employees are provided information on the following:
	Items Provided During Review
	Host Initials
	Contractor Initials

	1. The nominal voltages of lines and equipment
	 
	 
	 

	2. Maximum switching-transient voltages
	 
	 
	 

	3. The presence of hazardous induced voltages
	 
	 
	 

	4. The presence of protective grounds and equipment grounding conductors
	 
	 
	 

	5. The locations of circuits and equipment, including electric supply lines, communication lines and fire-protective signaling circuits
	 
	 
	 

	6. Condition of the protective grounds and equipment grounding conductors
	 
	 
	 

	7. Condition of the poles
	 
	 
	 

	8. Environmental conditions relating to safety
	 
	 
	 

	Additional items to be discussed depending on the nature of the work involved:
	 
	 
	 

	Do any enclosed spaces contain hazards other than electrical and atmospheric that could endanger the life of an entrant or could interfere with escape from the space?
	 
	 
	 

	Are any of the vaults accessed vented and are ventilation systems working?  If not, will the contractor need to provide ventilation?
	 
	 
	 

	What is the minimum approach distance used by Host?  
	 
	 
	 

	Are employees exposed to hazards from flames or electric arcs, or is work being done dead?
	 
	 
	 

	What is the estimated incident energy from an electric arc?
	 
	 
	 

	Are devices designed to open or close circuits under load conditions?
	 
	 
	 

	What are the known sources of electric energy, back-feed, etc. supplying electric circuits?
	 
	 
	 

	What are fault current and clearing times in the work area?  
	 
	 
	 

	Are protective grounds adequate to carry the expected load?
	 
	 
	 

	Is there a possibility of hazardous transfer of potential if a fault occurs?
	 
	 
	 

	Are overhead structures capable of supporting stresses imposed by the work?
	 
	 
	 

	Additional information requested by contractor:
	 
	 
	 

	 
	
	
	 

	Signature by Employer Representative/Date
	Signature by Contractor/Date				
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